## About
CDRDfRCP Clean Dispatchable Resource Demand for Reliabilty Curve Paramaters | Idaho | 2025-03-07
Sources: | (none needed).
Calibrated variable.
Notes: | Specifies the curve used to define what share of peak capacity is needed from dispatchable
clean resources under a CES.
We avoid having this increase too sharply in the last few percent of requirement to avoid
artificially high CES credit prices in the model.
RPS % | Required clena firm
52% | 0.001335%
53% | 0.001776%
54% | 0.00235%
55% | 0.003095%
56% | 0.004055%
57% | 0.005287%
58% | 0.006862%
59% | 0.008866%
60% | 0.01141%
61% | 0.01461%
62% | 0.01864%
63% | 0.02368%
64% | 0.02997%
65% | 0.03779%
66% | 0.04747%
67% | 0.05941%
68% | 0.07408%
69% | 0.09205%
70% | 0.114%
71% | 0.1406%
72% | 0.1729%
73% | 0.2117%
74% | 0.2584%
75% | 0.3142%
76% | 0.3806%
77% | 0.4591%
78% | 0.5516%
79% | 0.6597%
80% | 0.7854%
81% | 0.9304%
82% | 1.096%
83% | 1.284%
84% | 1.495%
85% | 1.729%
86% | 1.984%
87% | 2.26%
88% | 2.551%
89% | 2.854%
90% | 3.161%
91% | 3.464%
92% | 3.755%
93% | 4.026%
94% | 4.267%
95% | 4.473%
96% | 4.641%
97% | 4.769%
98% | 4.862%
99% | 4.923%
100% | 4.961%

## CDRDfRCP
a parameter | 15
b parameter | 0.9
required share peak | 0.05